## Sheet1
Facility: Uncle Sam's Kids 4300 Goodfellow
Inspector: Gary Adams
Date of Inspection: June 5, 2009
FACILITY - ITEM OF CONCERN | YES | NO | N/A | COMMENTS
Are doors provided with finger protective strips on both sides of the hinge? |  | X |  | Several doors have protective strips on only one side or not at all
Do doors with automatic closing devices close sufficiently softly so as to not injure a child's finger? | X
Are doors to the outside the child care center kept locked to prevent unauthorized entry but yet permit unrestricted emergency exiting? | X
Are exit doors in good working order and unobstructed? | X
Exit signs properly located, unobstructed, illuminated? | X
Are emergency lights present and operate when tested? | X
Are corridors, aisles, and passageways which lead to exits clean and unobstructed? |  | X |  | Some passageways were very cluttered.
Tripping hazards are eliminated? |  | X |  | Office space is cluttered
Are all electrical outlets within reach of children (within 54" of floor) protected by GFCI or other protective device? | X
Are any portable electrical fans or space heaters prohibited where children are allowed? | X
Are extension cords or power strips prohibited in children's areas? | X
Have operable windows been protected to prevent climbing? |  |  | X
If screened, have window screens been secured from opening? |  |  | X
Are cords on windows coverings (blinds/curtains) either not looped or held with secure tie-down devices? |  |  | X
Are all window shade ropes in the area tied up out of the reach of children under age of 2? |  |  | X
Is the water temperature at sinks where children wash less than110°F to prevent scalding? |  | X |  | The sink in gross motor room had water >110 degrees.
Does the center have an evacuation plan? | X
Is the plan practiced on a routine basis? | X
Are staff knowledgeable about performing the plan? | X
Is access to the kitchen and laundry restricted by a closed door or childproof gate? |  | X |  | The half door of the kitchen was left open.
Soap, bleach, etc. are properly stored? | X
Storage areas are neatly maintained? | X
Are the slats on the cribs spaced no more than 3.5" apart? | X
Are the cribs in good working order; all present, operable and unbroken? | X
Are evacuation cribs designed to withstand usage in streets? | X
Are buggies equipped with fail-safe brakes? | X
Do brakes bring buggies to a halt when the handles are released? | X
Are highchairs equipped with a safety belt to secure children? |  | X |  | Did not see any high chairs.
Are "hook-on" chairs prohibited ? | X
Are changing tables equipped with an angle-sided, padded changing mat to keep children from rolling off the table during diaper changing? | X
Straps on changing tables are prohibited? | X
All hardware present on all general equipment (no missing handles or other parts)? | X
All equipment without exposed sharp edges; no protruding nail, bolts, screws? | X
Are there 2 first aid kits available within the child care center? | X
Are the first aid kits properly stocked with supplies? | X
PLAYGROUND SAFETY INSPECTION
General Environmental Concerns: sidewalk access is free of standing water, sand, pea gravel or low hanging branches. | X
Seating (benches, tables, etc) is in good condition (free of splinters, missing hardware or slats, protruding bolts, etc. | X
Shaded area is provided. | X
No poisonous plants, lead-based paint, toxic materials or preservatives | X
Age/Size Appropriate Design: Play equipment not appropriate for 2-5 year olds is NOT present in the play area. | x |  |  | Future use will require separation of 12-23 month play area from 2-5 year old play area.
Playground Protective Surface: All elevated play equipment has the proper depth of impact absorbing materials underneath the structure. | X |  |  | Future regulation may require the actual testing of the impact absorbing value.
Standing water is NOT found within the use zones. | X
Use Zones: There is a minimum Use Zone of 6 feet in all directions for all stationary equipment. | X
Use zones for adjacent pieces of play equipment may overlap if the adjacent designated play surfaces are less than 30" above the protective surface. If either adjacent structure exceeds 30", the minimum distance between the structures is 9 feet. | X
Barriers between equipment or for containment of surfacing material are installed so as NOT to create a trip hazard and are free of protrusions, splinters, sharp edges, etc, and are outside equipment use zones. | X
Slides: are accessed by stairs, step ladders or platforms which have evenly spaced rungs/risers, <9" for 2-5 year olds or ,12" for 5-12 year olds. | X
There is a flat surface the width of the slide bed at the top of the slide to help position the child for sliding (minimum 14" deep and 12" wide for 2-5 year olds and 16" wide for 5-12 year olds). | X
There are sufficient safety barriers at the top of the slide to prevent falls. | X
Side of bed ways are at least 4 inches high. | X
No portion of the sliding surface exceeds 50 degrees with the average angle of 30 degrees or less. | X
For slides greater than 4 feet in height, the slide exit height is between 7-15 inches above the protective surfacing materials. For slides less than 4 feet in height, the slide exit height is no more than 11 inches above the protective surfacing material. | X
The sliding surface faces away from the sun or is located in the shade, and isn't made of wood or fiberglass. | X
NO sharp, crush or shear points, protrusions, entanglements, head entrapments | X
All hardware is present and in good condition. | X
Climbing Equipment: Roofs are NOT accessible from play equipment. | X
All components of crawl through tunnels are secure and firmly fixed. The tunnel has two safe, clear exits and is designed to drain freely. | X
Handrails stay in-place when grasped and do not rotate on its axis. | X
NO sharp, crush or shear points, protrusions, entanglements, head entrapments | X
All hardware is present and in good condition. | X
Stairways & Ladders: Stairways having only one tread have a handrail present on an alternate means of hand support. Stairways having more than one tread have handrails on both sides. | X
Handrail height is between 22" and 38" above the tread and begins at the first step. | X
Steps and rungs are evenly spaced and children can descend equipment when they reach the top via platform, stairway or ladder. | X
Openings between steps or rungs and between the top step or rung and underside of a platform pass the testing requirements for head entrapment. | X
NO sharp, crush or shear points, protrusions, entanglements, head entrapments | X
All hardware is present and in good condition. | X
Decks & Platforms: The maximum difference in height between stepped platforms is 12' for 2-5 year olds and 18" for 5-12 year olds. | X
Equipment, used by 2-5 year olds, that is more 30" above the underlying surface has a protective perimeter barrier of at least 29" high around it and equipment, used by 5-12 year olds, that is more 48" above the underlying surface has a protective perimeter barrier of at least 38" high around it. | X
Guardrails or protective barriers are present on all elevated surfaces greater than 20" above the underlying surface for 2-5 year olds (29" top edge, 23" lower edge). Guardrails or protective barriers are present on all elevated surfaces greater than 30" above the underlying surface for 5-12 year olds (38" top edge, 28" lower edge) | X
No partially bound openings | X
NO sharp, crush or shear points, protrusions, entanglements, head entrapments | X
All hardware is present and in good condition. | X
Swings: Any swings in the playground equipment? |  | X
Upper Body Equipment: Any upper body equipment, rings, climbing rope, sliding pole? |  | X
Rotating & Rocking Equipment: Any see-saws, merry-go-rounds, etc? |  | X
Sand Play Area: The play area is located in a partially shaded area. |  | X |  | The sand play area may be protected from direct sun by the trees to the west.
The play area is inspected and raked at least every week for debris, and to provide exposure to air and sun. |  | X |  | Appears abandoned
If the play area is in a box, it is covered at night to prevent animal excrement contamination. |  | X
NO sharp, crush or shear points, protrusions, entanglements, head entrapments |  |  | X
All hardware is present and in good condition. |  |  | X
Fences & Gates: NO sharp, crush or shear points, protrusions, entanglements, head entrapments |  | X |  | The fence does not fit closely to the shed and presents an entrapment
All hardware is present and in good condition. | X
Accessibility: Any handicapped or wheelchair access? |  | X |  | Nothing designed for handicapped or wheel chair bound children.